## Slide 1: SASMI Self-Awareness and Self-Monitoring for Innovation

## Slide 2: Motivation
Industry | Co-production Opportunities
District Heating | To identify malfunctioning substations and/or to discover inappropriate configurations in the network. Goal: to increase efficiency and reduce the temperature in the system.
Heat Pumps | To discover early symptoms of faults before they become a serious problem, or to highlight unexpected events. Goal: to support technicians in the maintenance operations.
Industrial Networks | To discover early symptoms of faults before they become a serious problem, or to highlight unexpected events. Goal: to support technicians in the maintenance operations.
Health Care | To monitor health changes and warn about unexpected events. Goal: to reduce risks and support independent living of seniors.
Inspecting operation of many modern systems becomes impossible as they grow more and more complex. However, they also continuously produce data describing their behavior, and thus should be self-monitoring.

## Slide 3: Research Question
The goals of SASMI are to develop and evaluate:
a number of data representation formalisms that are useful across many different domains
new methods for selecting the best representation based on data, application, goals, constraints, etc.
techniques for using expert knowledge to augment and interactively guide data-driven methods
Data
Reasoning
Representation
Different domains we have selected present both interesting similarities and differences.
Develop new methods for self-monitoring systems whose operation can be described by streaming multivariate time-series data, based on comparisons against a number of similar but not identical elements.

## Slide 4: Synergy
 | Domain Characteristics |  |  |  |  | 
Industry | Data | Systems | Reference | Dimensions | Control loop | Complexity
District Heating | streaming multivariate time series | many | available | 5 sensors & few events | several days | large network, simple elements
Heat Pumps | streaming multivariate time series | many | available | 10 sensors & some events | hours and/or minutes | single complex element
Industrial Networks | streaming multivariate time series | many | available | 100 sensors, primarily events | seconds or less | small network, complex elements
Health Care | streaming multivariate time series | many | available | 20 sensors & many events | none (years) | single very complex element
Notes: Dynamics: all our systems are slow-changing? [AS] I think industrial networks are fast changing. I think healthcare also has timely requirement for detecting emergency situations.
Dimensions: we have from couple to hundreds signals, but it doesn’t seem to be particularly interesting?
Boundaries: open/closed system? [AS] when I thought of boundaries, I though of whether we had access to some control variable. Perhaps we can use feedback loop instead or maybe something else.
Feedback loop ?
Shared properties: multivariate time-series data, from number of individuals, reference events
Differences: nr of dimensions, time resolution, feedback effects, control or sensor signals, detecting faults or incorrect usage, ground truth availability…

## Slide 5: Methodology
Our goal is to automatically detect unexpected/undesired situations by monitoring interesting signals, and comparing or contrasting the behavior of a given element against similar ones.
Investigate different data representations that can capture different characteristics of the data. Design methods to select and summarize information from different subsets of data.
Develop algorithms for comparing elements using these representations. Create methods to compute the likelihood that an individual system is deviating from the group (i.e. from normal behavior), as well as the degree of this deviation.
Design ways to register and describe deviations so that they can be compared later and similar deviations be grouped together.
Notes: 1) Evaluate different data representations (histograms, GMMs, linear and nonlinear relations, SOMs, HMMs, Fourier transforms, wavelets, …) that can capture different characteristics of data. Evaluate ways to select different subsets of raw data that should be summarized (various time horizons, specific conditions or usage, etc.).
Interestingness?
2) Evaluate different ways of comparing those representations (different criteria?). Evaluate ways to compute the likelihood that an individual system is deviating from normal behavior, as well as degree of this deviation (e.g. find subgroups to compare against if the whole population is not homogenous).
3) Evaluate ways to describe deviations (e.g. features) so that they can be compared later and similar deviations can be grouped together.